Environmental Monitoring Report – Falconer Museum & Store

28th May 2026

1/02/2026 – 28/05/2026 data

*Note tiny tags calibrated October 2022

Handheld thermo-hygrometer weekly readings

| Museum Ground Floor (GF) | 22.4°c | 51.4% |
| --- | --- | --- |
| Museum mezzanine | 22.6°c | 48.6% |

| Museum store GF | 20.1°c | 49.1% |
| --- | --- | --- |
| Museum store 1st Floor | 20.1°c | 50.6% |

Data logger download data

Museum

Museum Mezzanine

The battery ran out, so confused the data logger, which appears to have time travelled when replacing the battery and downloading the data.

| Museum Mezzanine | Temp °c | Relative Humidity % |
| --- | --- | --- |
| Min | 4.2°c | 36.2% |
| Max | 25.6°c | 65.9% |
| Average | 19.4°c | 47.6% |

| Museum Archaeological Cabinet | Temp °c | Relative Humidity % |
| --- | --- | --- |
| Min | 3.7°c | 42.1% |
| Max | 22.4°c | 49.1% |
| Average | 18.1°c | 44.6% |

Museum Store GF

| Museum Store GF | Temp °c | Relative Humidity % |
| --- | --- | --- |
| Min | 13.9°c | 47.9% |
| Max | 19.3°c | 58.0% |
| Average | 16.1°c | 52.3% |

Museum Store 1st Floor

| Museum Store 1st Floor stack 6 | Temp °c | Relative Humidity % |
| --- | --- | --- |
| Min | 13.6°c | 42.4% |
| Max | 20.7°c | 53.5% |
| Average | 16.2°c | 46.4% |

All traps vacant of insects in museum store

Replaced all traps

1 carpet beetle Falconer Room

Replaced all traps

Richard Aitken ACR

High Life Highland Conservation Service

High Life Highland & Registration Centre.