Environmental Monitoring Report – Falconer Museum & Store

19th September 2024

02/05 – 19/09/2024 data

Handheld thermo-hygrometer weekly readings

| Museum Ground Floor (GF) | 18.4°c | 59.5% |
| --- | --- | --- |
| Museum mezzanine | 18.4°c | 66.8% |

| Museum Archaeological Cabinet – off data logger | 18.2°c | 62.6% |
| --- | --- | --- |

| Museum store GF | 15.7°c | 71.0% |
| --- | --- | --- |
| Museum store 1st Floor | 16.1°c | 65.5% |

Data logger download data

Museum

| Museum | Temp °c | Relative Humidity % |
| --- | --- | --- |
| Min | 17.4°c | 45.2% |
| Max | 23.3°c | 66.4% |
| Average | 19.3°c | 57.0% |

| Museum Archaeological Cabinet | Temp °c | Relative Humidity % |
| --- | --- | --- |
| Min | 16.2°c | 45.2% |
| Max | 23.0°c | 56.9% |
| Average | 19.0°c | 52.5% |

See graph below

Museum Store

| Museum Store GF | RH% | Temp °c |
| --- | --- | --- |
| Min | 59.8% | 14.1°c |
| Max | 72.5% | 18.7°c |
| Average | 68.0% | 16.5°c |

| Museum Store 1st – stack 6 | RH% | Temp °c |
| --- | --- | --- |
| Min | 53.4% | 13.1°c |
| Max | 70.4% | 21.3°c |
| Average | 59% | 17.0°c |

Note

Museum Store 1st floor; been quite humid for sometime, I would recommend a dehumidifier is installed.

Traps

Falconer museum

GF

Guitar cabinet		2 slaters

Falconer bust		0

Mezzanine

Mirror, Trap 3		17 slaters (poss due to damp external walls)

Soldier, Trap 4		2 slaters, 2 silverfish

Museum store

All blunder and moth traps

Richard Aitken ACR

High Life Highland Conservation Service

High Life Highland & Registration Centre.

Action

Tyvek tape for cabinets in museum